INVITATION TO TENDER SUPPLY INSTALLATION, COMMISIONING & NET METERING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING MINARA ROAD SUKKUR

Tender No. RE/SOLAR/SUK/APR/2026

INVITATION TO BID

1.	State Life Insurance Corporation of Pakistan, invites bids via E-PADS under Single stage two envelope procedure, from the original authorized distributors/ suppliers/ Contractors etc., having relevant experience of installation of solar system in Federal Government organizations, Banks and Multinational Companies in Pakistan and registered with the concerned authorities for “SUPPLY INSTALLATION, COMMISIONING & NET METERING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING MINARA ROAD SUKKUR.”. The firms should have proper office, telephone number, N.T.N and should be duly registered with e-PADS, FBR on the ATL & GST list.

2.	Bidding documents, containing detailed terms and conditions, etc. are available for download on E-PADS website http://eprocure.gov.pk

3.	The bids prepared in accordance with the instruction in the bidding documents, must be submitted through E-PADS on or before 04-06-2026 at 11:00 AM. Bids will be opened on same day at 11:30 AM

4.	Contractor is advised to submit original bid security and hard copies of original bids shall also be submitted in the office of In-charge (Real Estate Department) 7th floor, State Life Building, Thandi Sarak Hyderabad. On OR before 04-06-2026 at 11:00 AM.

5.	This advertisement is also available on State Life website www.statelife.com.pk & PPRA website www.ppra.org.pk however, the bids shall be submitted through E-PADS. Any bid submitted other than E-PADS will not be consider.

6.	State Life Insurance Corporation of Pakistan reserve right to accept / reject all bids in accordance with PPRA Rules.

Mazhar Uddin Shaikh

INCHARGE (Real Estate)

5th Floor, State-Life Building

Minara Road Sukkur 
Ph:071-9310503

STATE LIFE BUILDING SUKKUR

Tender No. RE/SOLAR/SUK/APR/2026

#### Documents for

TECHNICAL BID

(NOTE: PRICE CAN NOT BE QUOTED IN TECHNICAL BID)

| Name of work: TENDER DOCUMENTS FOR THE: SUPPLY INSTALLATION, COMMISSIONING & NET METERING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING SUKKUR. |  |
| --- | --- |
| Contents: |  |
|  | - Instruction for Tender (02Pages). - The Tender and Performa ‘A’&‘B’ (04+01Pages) - The Scope of Work, terms conditions & Bill of Quantity (B.O.Q) (05Pages) - Technical Evaluation Criteria (TEC) (04Pages-Landscape) - The General Conditions of Contract with the Form of the Agreement and Bond |

Bid Security of Amount (Rs) 150,000/- in form of pay order (in original), must be delivered at Office of In-Charge (Real Estate Department) 7th Floor, State Life Building Thandi Sarak Hyderabad before the Time & Date mentioned in the Tender Notice.

Date…………………

#### N. B: All tender documents read carefully, to be filled properly and duly singed & stamped each paper before uploading it to EPADS. Incomplete tender bids will not be considered.

FOR TECHINCAL BID

### STATE LIFE BUILDING SUKKUR

### “INSTRUCTION FOR TENDER”

- The Tenderer should examine carefully the General Conditions of Contract, the Specification and the drawing supplied herewith. He should visit and inspect the Site on his own responsibility and at his own expense to obtain all the information which may be necessary for the purpose of making a Tender.

- The Tenderer set down the rates and prices against the items in the Bill of Quantities are to be the full inclusive value of the finished work described there under and shall cover profit and all obligations of every kind which under the Contract are to be borne by the Contractor.

- The Quantities set out in the Bill of Quantities are estimated only and their accuracy or inaccuracy shall in no way effect the validity of the Tender or of any Contract based thereon. The total amount of the various item set out in the Bill of Quantities at the rates or prices inserted by the Tenderer shall be stated in each case, but this figure is required solely for the purpose of facilitating the comparison of the various Tenders received and shall not be deemed to be the actual sum which is to be paid to the Contractor for the execution of the work. The actual sum to be paid to the Contractor whose Tender is accepted will be determine by measuring the work, actually done in accordance with the Contract and valuing it the rates or prices inserted by the Contractor in the Bill of Quantities.

- The Contractor whose Tender accepted will be required to enter into an Agreement Form of which (subject to any necessary adaptations) will be as set out in the Form appended to the General conditions of the Contract.

- The Contractor whose Tender accepted will also be required to furnish as Security deposit/performance guarantee in form of Bank guarantee from schedule bank of Pakistan till the successful completion of the Contract, for the sum equivalent to Five percent (5%) of the Contractor price for the due performance of the Contract, (see Clause-9 of the General Conditions of Contract).

- Tenders must be made on the separate Form supplied herewith must be accompanied by two copies of the Bill of quantities fully price, monies out and totaled in ink and sign by Tenderer. Tender must be reached to the Office of In-Charge (Real Estate Department) 7th Floor, State Life Building Thandi Sarak Hyderabad, not later than the time stated in the Tender Notice.

- No unauthorized alteration may be made in the Form of Tender or the accompanying Documents and if alteration is made or if the Bill of Quantities is not properly filled in, or if these instructions are not fully complied with the Tender may be rejected.

- Tenderer must be produced evidence with their Tender, that they had experience and are fully capable carrying out the work of this class and magnitude and must give full details of the plant they propose to use on the works in Performa “A”.

- State Life Insurance of Corporation Pakistan reserves to themselves the right to reject any Tender without any reason or to accept any Tender in whole or in part and do not hind themselves to accept the lowest or any Tender.

- Should there be any doubt or obscurity as to the meaning of any Tender Documents or if any further information is required, the Tenderer must address his enquiry in writing (in duplicate) to the Office of In-Charge (Real Estate Department) 7th Floor, State Life Building Thandi Sarak Hyderabad, not later than two weeks before the date fixed for the delivery of Tender.

(INSTRUCTION FOR TENDER Page 1/2)

FOR TECHINCAL BID

- Each Tender must be accompanied by the requisite amount of Earnest money deposit either in Pay Order / Demand Draft /Bank Guarantee of a recognized Pakistan or a foreign bank with presence in Pakistan in favour of M/s. State Life Insurance Corporation of Pakistan, Bankers Guaranteed Bond valid for an indefinite period or a pay order drawn in favor of the State Life Insurance Corporation of Pakistan. The earnest money will be refunded to the unsuccessful Tenderer to after the Tender are decided. (See Clause-9 of the General Conditions of Contract).

- The Tender must be submitted through Epads online before the due time and date fixed for opening of the Tender. Physical submission shall not be accepted in any case before the due time and date fixed for opening of the Tender.

- The Contractors have to quote items rate as per schedule of quantities attached with Tender. Any insertion of percentage whether below or above on the rates after filling of the rates shall make the Tender invalid and the Tender will not be considered.

(INSTRUCTION FOR TENDER Page 2/2)

# GENERAL INFORMATION

| Sr. No. | Description |
| --- | --- |
| 1 | Enclosed, please find herewith Tender Documents for the subject work as per single stage two envelope procedure of PPRA Rules. Please submit the same duly filled and completed in all respects on E-PADs at the latest by 04-06-2026 at 11:00 AM. |
| 2 | The bid(s) shall be submitted on E-Pad(s) only. |
| 3 | Contractor is advised to submit Original Bid Security on or before 04-06-2026 at 11:00 hours in the office of In-charge (Real Estate), 7th Floor, State Life Building #03, Thandi Sarak, Hyderabad. |
| 4 | All queries / clarifications required from bidder shall be addressed on working days through E-PADs. |
| 5 | State Life will reject proposal for award of contract if it determines that the firm recommended for award of contract has engaged in corrupt or fraudulent activities in competing for the contract. |
| 6 | The successful contractor will follow all instructions issued by the Corporation. |
| 7 | The Agency may, at its discretion, extend the deadline for submission of bids by amending the bidding documents. |
| 8 | Any bid received after the submission deadline prescribed by the Procuring Agency will be rejected and returned unopened. |
| 9 | Tender shall be submitted through E-Procurement System of PPRA (E-PAD). No manual tender shall be accepted. |
| 10 | State Life Insurance Corporation of Pakistan reserves the right to accept or reject all bids in accordance with PPRA Rules. |

MANDATORY REQUIREMENTS

| Sr. No. | Requirement |
| --- | --- |
| I | Registration on Portal – EPADS |
| II | Valid Registration Certificate FBR – NTN with Return of last 03 years |
| III | Valid Registration Certificate – SST |
| IV | Undertaking in original for non-blacklisting of firm from any Govt. / Semi-Govt. / Autonomous Body or Private Organization on Rs. 100/- Stamp Paper. |
| V | Pakistan Engineering Council registration certificate in mandatory technical codes EE-04, EE-05, EE-11 & for financial limit in C-3 minimum. |

SALIENT FEATURES OF CONTRACT

(Blanks to be filled by the Bidder)

| Clause | Description | Details |
| --- | --- | --- |
| A | Submission of Tender | Through EPADS |
| B | Title of Work | SUPPLY INSTALLATION & COMMISSIONING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING, MINARA ROAD, SUKKUR. |
| C | Amount of Bid Security | Rs. 150,000/- in shape of Pay Order / Bank Draft in favor of State Life Insurance Corporation of Pakistan |
| D | Bid Security Forfeiture | - If the bid is withdrawn after opening - If the bidder does not accept Letter of Award or refuses to enter into contract |
| E | Release of Bid Security | - To unsuccessful bidders on acceptance of lowest bid - To lowest bidder on submission performance guarantee |
| F | Validity of Tender | One Hundred Twenty (120) Days from date of opening of bid |
| G | Commencement of Work | Not later than Seven (07) Days from date of issuance of Letter of Award |
| H | Period of Contract | 3 Months from date of commencement of work |
| I | Working Days | Six (06) working days except gazetted holidays (08:30 hrs to 17:30 hrs) |
| J | Defect Liability Period | 12 Months from date of completion of project including net metering. |
| K | Third Party Insurance | Rs. 500,000/- (Minimum for any one incident for loss of property or life) |
| L | Retention Money | 5% deduction from each bill, released after defect liability period. |
| M | Performance Guarantee | 5% of Quoted Amount and shall be release after completion of Defect liability period |
| N | Venue / City | State Life Building, Minara Road, Sukkur |
| O | Payment Terms | Payment shall be made according to the bill claimed by the Contractor against actual executed items, duly verified and certified by the Engineer / In-Charge. The minimum payable amount per bill shall not be less than Rs. 1,500,000/- (Rupees One Million Five Hundred Thousand only). Bills of lesser amount may be carried forward and paid once cumulative value reaches Rs. 1.5 Million. All statutory deductions shall apply. |
| P | Liquidated Damages | 0.1% per day upto a maximum of (10%) of sum stated in the Letter of Acceptance/Award. |
| Q | Non-Blacklisting | Undertaking in original for non-blacklisting of firm from any Govt. / Semi-Govt. / Autonomous Body or Private Organization on Rs. 100/- Stamp Paper. |
|  | Signing Of Contract Agreement | 1. Upon acceptance of the tender the supplier shall execute with the State Life Insurance Corporation of Pakistan a proper agreement on judicial stamp paper of containing certain terms and conditions in the form prescribed by the State Life Insurance Corporation of Pakistan within Seven (07) days from the acceptance of Letter of Award. 2. The contract shall be Governed and interpreted in all respects in accordance with the Law of Pakistan. 3. State Life Insurance Corporation of Pakistan reserves the right to reject any or all offers, as per provisions of PPRA Rules. 4. In case of any dispute, Divisional Head (Real Estate) State Life, is the final arbitrary authority to settle the matter and it will be liable to accept the decision by both parties. |

FOR TECHINCAL BID

STATE LIFE BUILDING SUKKUR

### “THE TENDER”

Tenderer required to fill in the blanks space in the is tender Form and the attached Performa “A”

To,

Office of In-Charge

(Real Estate Department) 7th Floor,

State Life Building Thandi Sarak Hyderabad

#### Description of work

…………………………………………………………………………………………………………

…………………………………………………………………………………………………………..

…………………………………………………………………………………………………………

…………………………………………………………………………………………………………

…………………………………………………………………………

- Having examined the drawing, General Conditions of Contract, and special condition of Contract (if any), specification and Bill of Quantities for the above – named works. We the undersigned offer to carry on the said works in conformity with the said Drawings General Conditions of the Contract, Special conditions of Contract (if any) specification and Bill of quantities for the sum of Rupees:                                                                 (Rs                          ) or such other sums as may be ascertained with the said conditions.

- We undertake if our tender is occupied in whole or in part to commence the work within……....

days of receipt of the Engineer’ so order to commence and to complete and deliver the whole of the work comprised in the Contract within	…days calculated form the last days of the afore said period in which the works are to be commenced.

- If our tender is accepted in whole or in part we will furnish a Security deposit for due performance of the Contract in accordance with Clause-9 of the General Conditions of Contract.

- We agree to abide by the tender for a period of	…days from the date fixed for receiving

Same and it shall remain binding up on us may be accepted at any time before expiration of that period.

- Unless and until a formal Agreement is prepared and executed, this tender, together with your written acceptance thereof, shelf constitutes a binding Contract between us.

- We understand that you are not bound to accept the lowest or any tender; you may receive and accept any tender in part or in whole.

- We further agree to pay all cost toward the execution of the Contract Agreement including the cost of stamps.

- We agree that should we withdraw the offer within the aforesaid period or fail to execute the formal Contract Agreement and / or make the required Security deposit in the name of, State Life Insurance Corporation of Pakistan shall be at liberty at their absolute discretion to appropriate our earnest money deposit of Rs. ………… Either as agreed liquidated damages without any proof whatsoever of the extend of such damages or an account, reserving to themselves the right to recover from us any further loss or expenses to which they may have been put directly or indirectly by reason of any failure on our part as aforesaid.

(THE TENDER Page 1/4)

FOR TECHINCAL BID

- *We have deposited/sent by Cheque No	…../enclose a Pay Order/enclose Bank

Certificate Cheque No……….……. / Enclose a Bank guaranteed Bond for Rs.....…………….As Earnest money in favors of State Life Insurance Corporation of Pakistan and hold his receipt No ………..…… Dated……………….

- We agree to maintain the working order for a period of………………………Months, from the

Date of its completion.

Dated………………..	TENDERER………………

Place…………….….	(Full Signature)………………

#### Signed by Mr.	For and on

Behalf of Messrs.

*Delete whichever is Not Applicable

(THE TENDER Page 2/4)

FOR TECHINCAL BID

STATE LIFE BUILDING SUKKUR

### PROFORMA “A”

#### (To be submitted with the Tender)

| Particulars | Details |
| --- | --- |
| - Experience as a Contractor. - Work carried out in the past with detailed cost, particulars and the year in which they were under taken etc. - Bankers reference regarding financial status. - Whether registered with any other Department or Organization? If so, give details. |  |

(THE TENDER Page 3/4)

FOR TECHINCAL BID

| Particulars | Details |
| --- | --- |
| - Plant and equipment in possession (Give Detail with cost) - Technical person & employed; give Names and other details. - If your firm registered? - State Capital of your firm. - Details of Income tax, Sales tax, registration etc. - Number of years of actual work carried out in Pakistan. - Attach attested copy of certificate of past work of the same nature carried out as that in tender. - Electrical Contractor license No. and date. Date: Place: | ,. SIGNATURE OF TENDERER Signed by Mr. For and on behalf of |

(THE TENDER Page 4/4)

FOR TECHINCAL BID

### STATE LIFE BUILDING SUKKUR

### PROFORMA – “B”

| S.NO | PARTICULARS | DETAILS |
| --- | --- | --- |
| 1. | In case of “SOLE PROPERIETORSHIP” concern. - Full Name of the Proprietor. - Business address and Phone No. If any. - Residential address and Phone No. if any. - Certified copy of certificate of registration with Registrar of Firms to be attached. |  |
| 2. | In case of “PARTNERSHIP” Concern: - Name of the Partners with their business / residential address and Phone No. if any. - Partnership Deed & Certificate of Registration (Certified copies to be attached) |  |
| 3. | In case of “PRIVATE LIMITED COMPANY”. - Name of all Directors with their Business / Residential address and Phone No., if any. - Memorandum & Articles of Association of the Company and Certificate of incorporation. (Certified copies to be attached.) |  |
| 4. | In case of ”PUBLIC LTD., COMPANY”. Memorandum & Articles of Association and (Certified copies to be attached). |  |
| 5. | In case firm is to be represented by “ATTORNEY”. - Legal Status and full particular so of the Attorney. - Period of validity of Power of Attorney (Certified copies of Special or General Power of Attorney duly executed on Stamp Paper of proper value and authenticated / attested by a competent Authority to be attached. |  |
| 6. | G.I.R. No: Income Tax and amount of Income paid during the last assessment year (state year of Assessment) |  |
| 7. | A Certificate from the Bankers, sealed and addressed to the State Life Insurance Corporation of Pakistan showing the financial position of the Institution tendering, should be enclosed. |  |

SIGNATURE & SEAL OF THE TENDERER SIGNED BY MR.

FOR & ON BEHALF OF

Page 4/4

FOR TECHINCAL BID

SUPPLY INSTALLATION, COMMISSIONING & NET METERING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING SUKKUR

SCOPE OF WORK / BILL OF QUANTITY

| S.NO | DESCRIPTIONS OF WORK | QTY | UNIT | ACKNOWLEDGE |
| --- | --- | --- | --- | --- |
| 1 | Supply / Providing of Tier-1, Grade-A, 610W to 625W, Monoperc, Half cut, HIMO6, N-type of reputable make as per international standard, IEC61215, IEC61730, ISO9001, ISO14001, ISO45001. Brand: Longi / Jinko / Canadian or equivalent | 56 | No. |  |
| 2 | Supply / Providing of Tier-1, Grade-A, on grid 30KW Inverter of reputable make as per international standard. IEC62109, IEC61727, IEC62116, IEC60068, IEC61683, IEC610006-2, IEC61000-6-4. Brand: Sungrow / Huawei / SMA or equivalent | 1 | No |  |
| 3 | Supply/ Providing of WIFI Stick including all communication devices & peripherals of reputable make as per international standard. | 1 | No. |  |
| 4 | Providing of AC Cable 16mm2, 4 core Copper Wire PVC insulated make Pakistan Cables / Fast Cables / Universal cables or equivalent (from Inverter to AC Combiner Cabinet). | 60 | Mtr. |  |
|  | Providing of Earthing 6mm2, single core Copper Wire PVC Green insulated make Pakistan Cables / Fast Cables or equivalent (for Structure Earthing). | 180 | Mtr. |  |
|  | Providing of DC Flexible Wire 6mm2, single core 1500VDC, tin coated Copper Wire XLPO/XLPO insulated make Pakistan Cables / Fast, Cables / Universal cables or equivalent (for DC wiring of solar panels). | 1800 | Mtr. |  |
|  | Providing of Earthing 2.5mm2, single core Copper Wire PVC Green insulated make Pakistan Cables / Fast Cables / Universal cables or equivalent (for Grounding Solar Panels). | 90 | Mtr. |  |
|  | Providing of Earthing Cable 25mm2, Single core Copper Wire PVC insulated make Pakistan Cables / Fast Cables or equivalent (from Earth pit to Lightning Arrester). | 180 | Mtr. |  |
|  | Providing of Earthing 10mm2, single core Copper Wire PVC Green insulated make Pakistan Cables / Fast Cables / Universal cables (for Inverter Earthing). | 180 | Mtr. |  |
| 5 | Supply/ Providing of Elevated Structure including (Height of Front pole:12’ & Back pole: 15’ Tilt: 7 degrees) With Epoxy Paint, Anti rust epoxy primer & Supporting materials. MS pipe 114mm dia size 14-gauge thickness. MS Main girder I-beam 5”x3” size 10-gauge (3mm) thickness. 1.8kg/ft. MS Secondary girder I-beam 5”x3” size 10-gauge (3mm) thickness. 1.8kg/ft. MS top plate 6”x 6” size 4mm thickness. MS base plate 8”x8” size 8mm thickness. MS square pipe 1”x2” size 18-gauge thickness (for walkway & ladder). Aluminum T & Z clamps. Respective calculations (ASCE7-10) subject to wind speed will be provided with the bid. | 1 | Job. |  |
|  | Constructing of Cemented civil pads for PV Roof mounting shed structure with dimensions L x W x H = 12” x 12”x 6” with MS studs & bolts reinforcement for elevated Structure. | 1 | Job. |  |
| 6 | Supply & Providing of Earth Electrodes (Rod Type) for Earthing System with 14mm Dia 3 meters (10feet) long driven Pure copper Solid rod, complete with clamps lugs, washer/bolts, connected with 1 x 25mmsq bare copper. I pipe/UPVC pipe class 'D/E' up to Earth chamber, job includes cad- welding of copper conductor to earth electrode rod at one end and provision/fixing of cable lugs at other end, including all accessories and RCC inspection chamber, heavy duty G.I. Cover having earth symbol, etc as per the specifications and Drawings and to the entire satisfaction and approval of the Engineer. Minimum depth of the earth pit should be 20ft, Earthing result should be less than 1 Ohm for AC/DC/LA. | 3 | Job. |  |
| 7 | 16Guage IP-42 AC Combiner Box Floor mounted 400 X 6000 X 200mm with complete filling scheme, railings & isolators for placing AC breakers, RYB indications with energy analyzer. Followings are specifications of wall mounted combiner. | 1 | Job. |  |
|  | MCCB 4-Pole,400 VAC, 63Amp x 1Nos. |  |  |  |
|  | SPD 4-Pole, 400V AC, 40kA x 1Nos. Brand: ACCU-Panels Energy or similar |  |  |  |
|  | Energy Analyzer x 1Nos Brand: Phoenix |  |  |  |
|  | Phase Indication Lights x 1Nos |  |  |  |
| 8 | Providing of Wall Mounted DC Distribution Boxes of 16 Guage IP-42 reputable make for each inverter for placing DC Breakers & DC SPD, Size: WxHxD=1.5’x1.5’x1’ with indication lamps, Digital Volt & Ammeter and with all necessary railings &fittings etc as per site requirements. | 1 | Job. |  |
| 9 | Providing of Misc Items e.g. Cable tray GI 16SWG with 18SWG cover. Accessories (MC4 Connectors, Cableties, UPVC conduits, anchor bolts, PVC flexible pipes & clamps, PVC tapes, Thimbles etc.) | 1 | Job. |  |
| 10 | Supply & Providing of Early Streamer Emission (ESE) with remote testing option and having following specifications: Make: As per approved manufacturer's list Type: Generation 3 or Equivalent Reaction time: 45 - 50 micro seconds Maximum Discharge Rating: 100 kA Material: Stainless Steel or as per manufacturer's specifications Length: 400mm or as per manufacturer's specifications Level of Protection: Level 1 Protection Radius: 65 m Risk Assement / Coverage Calculation Via Software. Mounting height (from Roof top to tip of ESE): 5m or as specified | 1 | No. |  |
| 11 | Supply & Providing of Water Piping Network with PPRC Piping Network for Cleaning of Solar PV Panels with Water Booster Pumps etc. Note: 2No. 3-in-1 special brush, featuring integrated brush, wiper, and water inlet functions for the cleaning of solar panels, will be handed over to the client. | 1 | Job |  |
| 12 | Installation, Commissioning, Net Metering (including NEPRA Charges & WAPDA Meter charges will be responsibility of contractor) and Services of S. No. 1 to 11. | 1 | Job |  |
| 13 | Spares | 1 | Job |  |

- ENERGY GENERATION SIMULATION

| Year | PR (Performance Ratio) | TCPR (Temperature Corrected Performance Ratio) | Yearly Generation (MWh) | Global Horizontal Irradiance (W/m2) | Ambient Temperature (Degree Celsius) |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |
| 9 |  |  |  |  |  |
| 10 |  |  |  |  |  |
| 11 |  |  |  |  |  |
| 12 |  |  |  |  |  |
| 13 |  |  |  |  |  |
| 14 |  |  |  |  |  |
| 15 |  |  |  |  |  |
| 16 |  |  |  |  |  |
| 17 |  |  |  |  |  |
| 18 |  |  |  |  |  |
| 19 |  |  |  |  |  |
| 20 |  |  |  |  |  |
| 21 |  |  |  |  |  |
| 22 |  |  |  |  |  |
| 23 |  |  |  |  |  |
| 24 |  |  |  |  |  |
| 25 |  |  |  |  |  |

#### SCHEDULE–A TO BID: PROPOSED PROGRAMME OF WORKS

Following details must be submitted for evaluation of technical bids duly marked as “Response to Schedule C to bid”

Bidder shall provide a program in a bar-chart or Program Evaluation and Review Technique (PERT) or Critical Path Method (CPM) showing the sequence of work items by which he proposes to complete the works of the entire Contract. The program should indicate the sequence of work items and the period of time during which he proposes to complete the works including the activities like designing, schedule of submittal of drawings, ordering and procurement of materials, manufacturing, delivering, construction of installation works, erection, testing and commissioning of works to be supplied under the Contract

#### SCHEDULE–B TO BID: METHOD OF PERFORMING WORKS

Following details must be submitted for evaluation of technical bids duly marked as “Response to Schedule B to bid”

The bidder is required to submit a narrative outlining the method of performing the Works duly marked as “Response to Schedule B to Bid”. Detailed working on schedule B will help the bidder to prepare an exact and doable financial offer. The narrative should indicate in detail and include but not be limited to:

- The sequence and methods in which he proposes to carry out the Works, including the number of shifts per day and hours per shift, he expects to work.

- Provide strategy for training the users/user information strategy.

- A list of all major items of construction and plant erection, tools and vehicles proposed to be used in delivering/carrying out the works at site.

- The procedure for installation of equipment and transportation of equipment and materials to the site

- Organization chart indicating head office & field office personnel involved in management, supervision and engineering of the Works to be done under the Contract.

### TERMSANDCONDITIONS

#### Work site :-

All the firms participating in bidding for this work must visit the work site for assessing the actual conditions, locations, spaces, logistics, etc before submitting their bids.

#### Operation and maintenance manuals and drawings: -

Contractor shall supply one set of Operation and maintenance Manual and 3 sets of Product Specs Catalogue for all the equipment before the supply, installation and commissioning of equipment for study of State Life Building Sukkur. Contractor shall supply 3 sets of manuals for all equipment after completion but before final handing over. Three sets of connection diagrams and schematic diagrams for the complete works showing actual as built condition shall be prepared by the contractor and provided for study and record prior to commissioning of the system. The contractor, if directed by In-Charge (Real Estate Department), shall incorporate any modifications / corrections, in the drawings.

#### Manufacturer catalogues along with tender document:-

Manufacturer catalogues, in English for offered equipment should be provided along with the tender documents for study of State Life Building Sukkur for verification of specifications and ascertaining the suitability of the equipment.

#### Load test and certificates:-

The Contractor along with the supply shall provide manufacturer’s test certificate. Actual test trial to be carried out after completion and installation as per standard procedures for satisfactory commissioning.

#### Training

Contractor shall arrange for 4-days training of 4 nominated officials of State Life Building Sukkur at the manufacturing / assembling premises of the equipment to be supplied. Said training shall cover operation, routine maintenance, fault diagnosis, defect rectification etc pertaining to the main equipment to be supplied.

#### Service level agreement (SLA) for maintenance

The service level agreement (SLA) for maintenance will be for (1 year). The maintenance activities will be divided in to the following parts:

      - Preventative maintenance-will include inspections and test so of Solar PV equipment to depict their performance.

      - Corrective maintenance-will include trouble shooting and parts replacement (if required) in case of abnormal behavior, component failure or breakdown.

      - Cleaning services of Solar plates three times in a month i-e on 10th , 20th & 30th of every month for period of one (01) year free on cost

Preventative Maintenance

Preventative maintenance shall encompass all the equipment installed, inverters, LV Panels, solar modules etc.

Inspections of Installed Equipment

  - PV Modules on daily basis

    - All panels to be inspected.