    - All panels inspection will be completed in 7days

    - PV Modules Glass cracks checking

    - MC4 connectors check for any loose connections

  - PV Inverters on a daily and monthly basis

    - Visual checks for any damages

    - MC4 connectors checking

  - Structure daily, monthly, and annual inspections and maintenance

    - Nuts & Bolts Tightening

    - ZRC application

| Sr.# | Inspection | Weekly | Monthly |
| --- | --- | --- | --- |
| 1. | PV Modules Inspection |  |  |
| 2. | PV Modules Cleaning |  |  |
| 3. | PV Inverters Inspection |  |  |
| 4. | Structure Inspection |  |  |
| 5. | Plant Performance Reporting |  |  |

Preventative maintenance shall be carried out by the site teams throughout the calendar year.

Bi-Annual Inspections

Bi-Annual inspection will be performed twice a year. Once after six months and other at the end of the year

The scope must include the following (Modules and Supporting Structure)

- 100% visual inspection of modules regarding damage in 1st bi-annual inspection. Modules will be inspected daily and damage/ replacement shall be reported. However, modules will be checked for any damage, decolonization, cracking, splitting will be covered in bi-annual inspections.

- Random check for loosening of module clips. Clips should be replaced if necessary

- ZRC application on rusty parts of the structure

- Nuts and bolts tightening of the structure and PV Modules Inverter (100% per inspection to be covered)

- Functional check of inverters

- Testing of inverter features according to manufacturer’s maintenance

- Maintenance of inverters according to manufacturer’s instructions

Additional Inspections

- Functionality testing of the monitoring system

- Maintenance of all PV Plant components according to manufacturer’s

instructions

- Visual damage inspection of all accessible cable trenches and cable trays

- Dressing of the cables if and as required.

Additional Main Annual Inspection

In addition to the bi-annual inspections, one main annual PN Plant inspection will be conducted. The inspection is to follow the detailed inspection procedures and will be documented accordingly. Below is the scope of annual inspection:

- Visual damage inspection of all accessible cable trenches and cable trays

- Visualinspectionandrandomtestingofmodulestringconnector’sclamps,

All components and degree of pollution. Testing of over-voltage protection

Corrective Maintenance

The following corrective maintenance services shall be offered till system is under O&M contract:

- Critical Reactive Repair

- Condition Based Maintenance

- Warranty Enforcement

- Equipment Replacement through Spares(planned/unplanned)

- Complaint Management

- MC4s replacement and cable dressing, if and as required

Corrective maintenance shall be carried out by the site team if and as required.

The following additional spare parts will be ordered along with the project procurement

•	10 extra modules.

•	50 m DC cable

•	Equipment to ensure low water consuming cleaning techniques.

•	Miscellaneous Items.

Any additional spares that the bidder foresees that could be used should be additionally specified. These should not be consumable items and will be analyzed by the owner’s engineer before being allowed to be added in the spares list. These spares are owned by State Life & stored within State Life, whereas it is the responsibility of the contractor to properly maintain, safeguard and store the spare parts. The spares can be acquired after an incident is properly reported where the installed inverters have become nonoperational.

Any additional spares non-availability impact on nonperformance of the plant will be the responsibility of the contractor during the O&M period. Any resulting damages due to nonperformance of the plant due to the unavailability of the inverters or any other equipment will be the responsibility of the O&M provider. Specialized low water consumption cleaning techniques and equipment to be used to avoid soiling and reduce portable water use. Unlimited water will not be available for cleaning modules.

- WARRANTYANDGUARANTEE:

- One-year standard warranty of complete Project.

- International Standard warranty for Solar Panel (Productwarranty16 years and performance warranty 30 years, 5 years Inverter warranty).

Signature & Seal of the Bidder

FOR TECHINCAL BID

STATE LIFE BUILDING

SUKKUR

CONTRACT

GENERAL CONDITIONS OF

# The General Conditions of Contract have been approved by the of State Life Insurance Corporation of Pakistan Under their Resolution No.21, dated 9th April, 1958 for adoptions of works.

I

### TABLEOF CONTENTS

PAGE

- Table of contents	iii-iv

- General Conditions of Contract…	1-12

- Form of Agreement	13

II

|  |  | GENERAL CONDITIONS OF CONTRACT TABLE OF CONTENTS |  |
| --- | --- | --- | --- |
| Clause |  | DEFINITION & INTERPRETATION | Page |
| 1. | (1) | Definition …………………………………………… | 1 |
|  | (2) | Singular and Plural …………………………………………… | 1 |
|  | (3) | Marginal Headings or Notice …………………………………………… | 1 |

REPRESENTATIVE OF THE ENGINEER

- Duties and Power of Representative of the Engineer	1

ASSIGNMENT AND SUB-LETTING

- Assignment and Sub-Letting	2

EXTENT OF CONTRACT

- Extent of Contract	2

CONTRACT DOCUMENTS

- Documents Manually Explanatory

- (a)	Drawings……………………..………………………………………………………………...	2

(b)	One Copy of Drawing to be kept on Site……………………………………………………	2

- Further Drawing and instruction…………………………………………………………………..	2

GENERAL OBLIGATIONS

- Contract agreement	………………………………………………...........................	2

- (a)	Security Deposit                       ………………………………………………………............ 3

|  | (b) | Contractor’s Failure to Furnish Security Deposit………………………………………... | 3 |
| --- | --- | --- | --- |
| 10. |  | Inspection of Site….………………………………………………………………………..... | 3 |
| 11. |  | Sufficiency of Tender……………………………………………………………………….. | 3 |
| 12. |  | Work to be to Satisfaction of Engineer……………………………………………………. | 3 |
| 13. |  | Program me to be Furnished………………………………………………………………. | 3 |
| 14. |  | Contractor’s Superintendence……………………………………………………………… | 3 |
| 15. |  | Contractor’s Employees…………………………………………………………………….. | 4 |
| 16. |  | Setting out…………………………………………………………………………………… | 4 |
| 17 |  | Watching and Lighting……………………………………………………………………... | 4 |
| 18. | (1) | Care of works………………………………………………………………………………... | 4 |
|  | (2) | Expected Risks………………………………………………………………………………. | 4 |
| 19. |  | Damage to Persons and property…………………………………………………………... | 5 |
| 20. |  | Accident or injury to workman…………………………………………………………….. | 5 |
| 21. | (a) | Giving of Notices and payment of Fees……………………………………………………. | 5 |
|  | (b) | Compliance with statutes, Regulation etc.………………………………………………… | 5 |
| 22. |  | Fossils, etc……………………………………………………………………………………. | 5 |
| 23. |  | Patent rights and Royalties………………………………………………………………… | 5 |
| 24. |  | Opportunities for other Contractor………………………………………………………... | 5 |
| 25. |  | Supply of Plants Materials and Labor…………………………………………………...... | 5 |
| 26. |  | Clearance of Site on Completion ………………………………………………………….. | 5 |
|  |  | LABOR |  |
| 27. |  | Hours of Employments & Payment of Wages…………………………………………….. | 6 |
| 28. |  | Return of Labor etc.……………………………………………………………………….... | 6 |
|  |  | WORKMATERIALAND PLANT |  |
| 29. | (1) | Quality of Material and Workmanship and tests………………………………………… | 6 |
|  | (2) | Cost of Samples……………………………………………………………………………... | 6 |
|  | (3) | Cost of Tests…………………………………………………………………………………. | 6 |
| 30. |  | Access of Site………………………………………………………………………………… | 6 |
| 31. |  | Examination of work be for recovering up……………………………………………….. | 6 |
| 32. | (1) | Removal of Improper Works and Materials……………………………………………… | 6 |
|  | (2) | Default of Contractor in Compliance……………………………………………………... | 6 |
| 33. |  | Suspension of work…………………………………………………………………………. | 6 |

III

COMMENCEMENT TIME AND DELAYS

| 34. |  | Commencement of Works…………………………………………………………………… | 7 |
| --- | --- | --- | --- |
| 35. | (1) | Possession of Site…………………………………………………………………………... | 7 |
|  | (2) | Way leaves, etc.…………………………………………………………………………….. | 7 |
| 36. |  | Time for completion……………………………………………………………………….. | 7 |
| 37. |  | Extension of Time for completion………………………………………………………… | 7 |
| 38. | (1) | Rate of Progress …………………………………………………………………………… | 7 |
|  | (2) | Termination of Contract for slow Progress……………………………………………… | 8 |
| 39. |  | Liquidated Damages for delay……………………………………………………………. | 8 |
| 40. |  | Certificate of Completion of Works……………………………………………………… | 8 |
|  |  | MAINTENANCE AND DEFECTS |  |
| 41. | (1) | Definition of Period of Maintenance……………………………………………………... | 8 |
|  | (2) | Execution of works of Repairs. etc……………………………………………………….. | 8 |
|  | (3) | Cost of Execution of works of Repair, etc……………………………………………….. | 9 |
|  | (4) | Remedyon Contractors failure to carry out work required……………………………. | 9 |
|  |  | ALTERATION ADDITIONS AND OMISSION |  |
| 42. | (1) | Variation……………………………………………………………………………………. | 9 |
|  | (2) | Orders for Variation to be in writing…………………………………………………….. | 9 |
| 43. | (1) | Valuation of Variations……………………………………………………………………. | 9 |
|  | (2) | Power of Engineer to fix rates…………………………………………………………….. | 9 |
|  |  | PROPERTY IN MATERIALS AND PLANTS |  |
| 44. | (1) | Plant etc, the Property of the SLIC……………………………………………………… | 9 |
|  | (2) | Re-vesting of Plant, etc……………………………………………………………………. | 9 |
|  | (3) | SLIC not liable for damage to plant, etc………………………………………………… | 10 |
| 45. |  | No approval by vesting …………………………………………………………………… | 10 |
|  |  | MEASUREMENT |  |
| 46. |  | Quantities…………………………………………………………………………………... | 10 |
| 47. |  | Works to be Measured ……………………………………………………………………. | 10 |
| 48. |  | Method of Measurement…………………………………………………………………... | 10 |
|  |  | PROVISIONAL SUMS |  |
| 49. |  | Use of Provisional and Contingency Items………………………………………………. | 10 |
| 50. |  | Items not Mounted out…………………………………………………………………….. | 10 |
|  |  | CERTIFICATE AND PAYMENT |  |
| 51. | (1) | Bills for on–account Payment…………………………………………………………….. | 10 |
|  | (2) | Rates and Prices……………………………………………………………………………. | 10 |
|  | (3) | Quantities…………………………………………………………………………………... | 10 |
|  | (4) | Advances…………………………………………………………………………………… | 10 |
| 52. |  | Approval only by Maintenance Certificate……………………………………………… | 11 |
| 53. |  | Maintenance Certificate…………………………………………………………………… | 11 |
| 54. |  | Payment of Completion…………………………………………………………………… | 11 |
| 55. |  | Currency of Payment……………………………………………………………………… | 11 |
|  |  | REMEDIES AND POWERS |  |
| 56. | (1) | Forfeiture…………………………………………………………………………………… | 11 |
|  | (2) | Valuation at date of for feature…………………………………………………………… | 12 |
|  | (3) | Payment after for feature…………………………………………………………………. | 12 |
| 57. |  | Urgent Repairs…………………………………………………………………………….. | 12 |
| 58. |  | Bribe, Commission, etc.…………………………………………………………………… | 12 |
|  |  | SETTLEMENT OF DISPUTES |  |
| 59. | Law Governing the Contract……………………………………………………………... |  | 12 |
| 60. | Arbitration………………………………………………………………………………… |  | 13 |

IV

General Conditions of Contract

DEFINITIONS & INTERPRETATION

- (1) In the Contract (as hereinafter defined) the following words and expression shall have the meanings hereby assigned to them except where the context otherwise requires: -

- “SLIC” means State Life Insurance of Corporation Pakistan, and includes the SLIC’s representatives of successors.

- “Contractors” means the person or person firms or company whose Tender (as here in after defined) has been accepted by the SLIC and includes the Contractor’s personal representative successors and permitted assigns.

- “Engineer” means the Electrical Engineer of the State Life Building Sukkur or other Engineer appointed from time to time by the State Life Insurance of Corporation Pakistan.

- “Representative of the Engineer” means any Engineer Assistant Engineer and any other duly authorized Agents of Agents appointed from time to time by the SLIC of the Engineer to perform the duties set forth in Clause-2 hereof.

- “Works” means the works to be executed in accordance with the Contract.

- “Contracts” means the conditions of Contract, Specification, Drawings, priced Bill of Quantities, Schedule of Rates and prices (if any), Tender and the Contract Agreement.

- “Contract Price” means the sum named in the Tender subject to such additions there to or deductions there from as may be made under the provisions hereinafter contained.

- “Constructional Plant” means all appliances things of what so ever nature required in or about the execution completion or maintenance of the works or Temporary works (as hereinafter defined) but does not include materials or other things, intended to from or forming part of the permanent work.

- “Temporary works “means all temporary works if every kind required in or about the execution completion or maintenance of the works.

- “Drawing” means the drawing referred to in the specification and any modifications of such drawings approved in writing by the Engineer and such other drawing as may from time to time be furnished or approved in writing by the Engineer.

- “Site” the lands and other places on, under in or through which the works are to be executed or carried out and any other lands or places provided by the State Life Insurance of Corporation Pakistan for the purpose of the Contract.

- “Approved” means approved in writing including subsequent written confirmation of previous verbal approval and “approval” means approved in writing including as aforesaid.

- “Tender “means the offer tendered by the Contractor for the works governed by the Contract.

- Words importing the singular only also include the Plural and vice versa where the contents require.

- The marginal headings or note in these General Condition shall not be deemed to be part there of or be taken in to consideration in the inter operation or construction there of or of the Contract.

Singular and Plural

Marginal Headings or Notes

1

Duties and Power of Representative of the Engineer.

###### Assignment and sub- letting

REPRESENTATIVES OF THE ENGINEER

- The duties of the Representative of the Engineer are to watch and supervise the works and to test and examine any material to be used or workmanship employed in connection with the works. He shall have no authority to relieve the Contractor of any of his duties or obligations neither under the Contract nor except as expressly provided here under or elsewhere in the Contract, neither to order any work involving delay or any extra payment by the SLIC nor to make any variation of or in the Works.

The Engineer may from time to time in writing delegate to the Representative of the Engineer any of the powers and authorities vested in the Engineer and shall furnish to the Contractor, a copy of all such written delegation of powers and authorities. Any written instructions or approval given by the Representative of the Engineer to the Contractor within the terms of such delegation (but not otherwise) shall bind the Contractor and the SLIC though it had been given by the Engineer, provided always as follows:-

  - Failure of the Representative of the Engineer to disapprove any work of material shall not prejudice the power of the Engineer there after to disapprove such work or materials and to order the pulling down removal or breaking up thereof.

  - If the Contractor shall be dissatisfied by reason of any decision of the Representative of the Engineer he shall be entitled to refer the matter to the Engineer who shall there upon confirm reverse or vary such decision.

ASSIGNMENTANDSUB-LETTING

- The Contractor shall not assign or Sub-let the Contractor any part there of or any benefit or interest or interest therein or there under without the written consent of the SLIC.

EXTENT OF CONTRACT

Extent of Contracts    4.The Contract comprises the construction, completion and maintenance of the works and except in so far as the Contract otherwise provides provision of all LABOR materials. Constructional Plant. Temporary works as everything whether of temporary or permanent nature required in and for such construction completion and maintenance so far as the necessity for providing the same is specified in or reasonably to be inferred from the Contract.

Documents manually Explanatory

CONTRACT DOCUMENTS

##### The several documents forming the Contract are to be taken as mutually explanatory of one another and in case of ambiguities or discrepancies the same shall be explained and adjusted by the Engineer whose decision in this respect shall be final.

Drawings	6. Three (3) copies of the approved drawings shall be furnished to the Contractor free of cost. The Contractor shall provide and make at his own expense any further copies required by him. At the completion of the Contract the Contractor shall return to the Engineer all drawings provided under the Contract.

One Copy of Drawings to be kept on Site

Further Drawings and Instructions

One copy of drawings furnished to the Contractor as aforesaid shall be kept by the Contractor on the Site and the same shall at all reasonable time be available for inspection and use by the Engineer and the representative of the Engineer.

7. The Engineer shall have full power and authority to supply to the Contractor from time to time during the progress of the works such further drawings and instructions as shall be necessary for the purpose of the proper and adequate execution and maintenance of the works and the Contractor shall carry out and bound by the same.

##### GENERALOBLIGATIONS

Contract Agreement      8. The Contractor shall within Fourteen (14) days after written notice of acceptance of the Tender has been posted to the Contractor enter in to and execute a Contract agreement, (to be prepared at the cost of the Contractor) in the form annexed, with such modifications as may be necessary.

2

- Unless otherwise agreed between the SLIC and the Contractor the Contractor shall within Fourteen(14) days after written notice of acceptance of the Tender has been posted to the Contractor and before the Contract agreement is entered into and executed, furnish to the SLIC a security for the due fulfillment of the Contract in form of pay order / demand draft in approved Public Rupee Securities or Approved Banker’s Guaranteed Bond valid till the successful completion of Contract endorsed in the favor STATE LIFE INSURANCE CORPORATION amounting to a sum equal to Five percent 5% of the Contract price.

Security Deposit

- In the event of the Contractor failing to execute a formal Contract or to make a Security Deposit therefore in the manner aforesaid and in the period specified, the SLIC  competent authority is entitled appropriate any earnest money or initial deposit made by the Contractor with his Tender without prejudice to their right to claim any further loss or damage which may result to them by reason of the aforesaid defaults of the Contractor as if a Contract is actually executed for purpose of such claim.

- The Contractor shall inspect and examine the Site and its surroundings and shall satisfy himself before submitting the Tender as to the nature of ground and sub

- soil, the from and nature of the Site the quantities and nature of the work and materials necessary for the completion of the works and the means of access to the Site of the accommodation he may requires and in general shall himself obtain all necessary information as to risk contingencies and other circumstances which may influence or affect his Tender.

- The Contractor shall be deemed to have satisfied himself before tendering as to correctness and sufficiency of his Tender for the Works and of the rates and prices staged in the priced Bill of quantities and the Schedule of rates (if any) which rates and prices shall excepting so far otherwise provided in the Contract coverall his obligations under the Contract and all matters and things necessary for the proper completion and maintenance of the Works.

- The Contractor shall execute, complete and maintain the works in strict accordance with the Contract to the satisfaction of the Engineer and shall comply with the adhere strictly to the Engineer’s Instruction and directions on any matter (whether mentioned in the Contract or not) touching or connecting the work. The Contractor shall take instruction and direction only from the Engineer or (subject to the Limitations referred to in Clause 2 hereof) from the Representative of the Engineer.

- As soon as practicable after the acceptance of his Tender the Contractor shall if required submit to the Engineer for his approval a Program me showing the order of procedure and method in which he proposes to carry out the Works and shall whenever required by the Engineer or Representative of the Engineer furnish for his information particulars in writing of the Contractor’s arrangements for the carrying out of the Works and of the Constructional Plant and Temporary Works which the Contractor intents to supply use or construct as the case the case may be. The submission to and approval by the Engineer or the Representative of the Engineer of such Program me or the furnishing of such particulars shall not relieve the Contractor of any of his duties or responsibilities under the Contract.

- The Contractor shall give or provide all necessary Superintendence during the execution of the Works and as long thereafter as the Engineer may consider necessary for the proper fulfilling of the Contractor obligations under the Contract the Contractor or a competent and authorized agent or representative approved of in writing by the Engineer (which approval may at any time be withdrawn) is to be constantly on the Works and shall give his whole time to the Superintendence of the same. If such approval shall be withdrawn by the Engineer, the Contractor shall as soon as is practicable (having regard to the requirements of replacing him as hereafter mentioned) after receiving written notice of

3

Contractor’s Failure to Furnish Security Deposit

Inspection of Site

Sufficiency of Tender

Work to be to Satisfaction of Engineer.

Program me to be furnished

Contractor’s

Superintendence

Contractor’s

Employees

such withdrawal removes the agent from the Site and shall not thereafter employ him again on the Site in any capacity and shall replace him by another agent approved by the Engineer. Such authorized agent representative shall receive on behalf of the Contractor and directions instructions from the Engineer or (subject to the Limitations of Clause 2 hereof) Representative of the Engineer.

- (1) The Contractor shall provide and employ on the Site in connection with the execution and maintenance of the works:-

  - Only such technical assistants are as skilled and experienced in their respective callings and such sub-agents’ foremen and leading hands as are competent to give proper supervision to the work they are required to supervise.

  - Such skilled semi- skilled and unskilled labor as is necessary for the proper and timely execution and maintenance of the Works.

- The Engineer shall be at liberty to object to and require the Contractor to remove forthwith from the work any person employed by the Contractor in or about the execution or maintenance of the Work who in the option of the Engineer misconducts himself or is incompetent or negligent in the proper performance of his duties or whose employment is otherwise considered by the Engineer to be undesirable and such person shall not be again employed upon the works without the written permission of the Engineer. Any person so removed from the Works shall be replaced without delay be a competent substitute approve by the Engineer.

- The Contractor shall if required by the Engineer deliver to the Engineer or the Representative of the Engineer returns in such form and at such intervals as the Engineer may prescribe showing in detail the supervisory staff and the number of the several classes of LABOR from time to time employed by the Contractor on the Site.

Setting Out	16.The Contractor shall be responsible for the true and proper setting out of the work and for the correctness of the position levels dimensions and alignment of all part of the Works and for the provision of all necessary instrument appliance and labor in connection therewith. If at any time during the progress of the Works any error shall appear or arise in the position levels dimensions or alignments of any part of the works, the Contractor on being required to do so by the Engineer or the Representative of the Engineer shall at his own expense rectify such error to the satisfaction of the Engineer or the Representative of the Engineer. The checking of any setting out of any line or level by the Engineer or the Representative of the Engineer shall not in any way relieve the Contractor of his responsibility for the correctness thereof and the Contractor shall carefully protect and preserve all bench-marks, Site- rails pegs and other things used in setting out the Works.

Watching and Lighting

17.The Contractor shall in connection with the Works provide and maintain at his own cost all lights, guards fencing and watching when and where necessary or required by the Engineer or the Representative of the Engineer or by and duly constituted authority for the protection of the Works or for the safety and convenience of the public or others.

Care of Works	18.(a) From the commencement to the completion of the Works the Contractor shall take full responsibility for the care thereof and of all Temporary works and in case any damage loss or injury shall happen to the work or to any part thereof or to any Temporary Works form any cause whatsoever ( save and except the excepted risks as defined in sub-Clause (2) of this Clause) shall at his own cost repair and make good the same so that at completion the works shall be in good order and condition and in conformity in every respect with the requirements of the Contract and the Engineer’s instructions. The Contractor shall also be liable for any damage to the Works occasioned by him in the course of any operations carried out by him for the purpose of complying with his obligations under Clause 4 hereof.

Expected Risks		(b) The “expected risks” are war, hostilities (whether war be declared or not) Invasion, act of foreign enemies, rebellion, revolution, Insurrection or military usurped power, civil war or (otherwise than among the Contractor‘s own Employees) riot, commotion or disorders or the use or occupation by the SLIC of any portion of the Works

#### 4

or disorders or the use or occupation by the SLIC of any portion of the Works in respect of which a Certificate of Completion has been issued or any such operation of the forces of nature as reasonable foresight and ability on the part of the Contractor could not foresee or reasonably provide against (all of which are herein collectively referred to as “the expected risks.)”

- The Contractor shall (expect if and so far as the Specification Provides otherwise) indemnify and keep indemnified the SLIC against all losses and claims for injuries or damage to any persons or any property whatsoever(other than surface or other damage to land being or crops being on the Site suffered by tenants or occupiers) which may arise out of or in consequences of the construction and maintenance of the works and against all claims demands proceeding damage, costs charges and expenses whatsoever in respect of or in relation thereto.

- The SLIC shall not be liable for or in respect of any damages or compensation payable at law in respect or inconsequence of any accident or injury to any Workman or other person in the employment of the Contractor or any sub-contactor and the Contractor shall indemnify and keep indemnified the SLIC against all such damages compensation and against claims demands proceeding costs charges and expenses whatsoever in respect thereof or in relation thereto.

- Contractor shall give all notices and pay all fees required to be given or paid by any National or state statute Ordinance or other Law or any Regulation or By- law of any local or other duly constituted authority in relation to the execution of the Works or of any Temporary Works and by the rules and regulations of all public bodies and companies whose property or right are affected or may be affected in any way by the Works or any Temporary Works.

The Contractor shall confirm in all respects with the provisions of any such statue Ordinance or Law as aforesaid and the regulation or By-Law of any Local or other duly constituted authority which may be applicable to the Works or to any Temporary Works and with such rules and regulations of public bodies and companies as aforesaid and shall keep the SLIC indemnified against all penalties and liabilities of every kind for breach of any such statute Ordinance or Law regulation or By-law.

- All fossils coins articles of value or antiquity and structures and other remains or things of geological or archaeological interest discovered on the Site of the Works shall as between the SLIC and the Contractor be deemed to be the absolute property of SLIC and the Contractor shall take reasonable precautions to prevent his workmen or any other persons from removing or damaging any such article or thing and shall immediately upon discovery thereof and before removal acquaint the Representative of the Engineer of such discovery and carryout at the expense of the SLIC Representative of the Engineer’s orders as to the disposal of the same.(NOT APPLICABLE)

- The Contractor shall save harmless and indemnify the SLIC from and against all claim and proceedings for or on account of infringement of any patent rights design trade-mark or name or other protected rights in respect of any constructional Plant machine work or material used for or in connection with the Works or Temporary Works or any of them and from and against all claims demands proceedings damages costs charges and expense whatsoever in respect thereof or in relation there to except where otherwise specified the Contractor shall pay all tonnage and other royalties and other payments or compensation (if any) for getting stone, sand , gravel clay or other materials required for the Works or Temporary Works or any if them.

- The Contractor shall in accordance with the requirements of the Engineer afford all reasonable opportunities for carrying out their work to any other Contractor employed by the SLIC and their workmen and to the workmen of the SLIC and of any other duly constituted authorities who may be employed in the execution on or near the Site of any work not included in the Contract of any Contractor which the SLIC may enter into in connection with or ancillary to the works.

- ExceptwhereotherwisespecifiedtheContractorshallathisownexpensesupply

andprovidealltheConstructionalplant.TemporaryWorksMaterialsbothfortemporary

Damage to Persons and Property

Accident or Injury to workman

Giving of Notices and Payment Of Fees

Compliance with statue Regulations etc.

Fossils, etc.

Patent Rights and Royalties

###### Opportunities for

Other Contractor’s

Supply of Plant Materials and Labor

#### 5

Clearance of Site on Completion

and for permanent works labor (Including the supervision thereof) transport to or from the Site and in and about the work and other things of every kind required for the construction completion and maintenance of the works.