###### Maintenance certificate

- When the Engineer granted a certificate or certificates of completion of the whole of the Works under Clause 40 hereof and when the SLIC has ascertained the estimated final sum due to the Contractor the SLIC shall after allowing for the amount all of previous on account bills and certificate and after allowing for all other payments due form the Contractor to the SLIC pay to the Contractor such a sum out of balance so calculated as remaining due to the Contractor as will leave to be retained by the SLIC a sum equal to the security deposit (see Clause 9 hereof).

###### Payment on Completion

- Unless otherwise agreed between the SLIC and the Contractor all payment to be made to the Contractor under this Contract shall be in Pakistani rupee currency.

### REMEDIES AND POWER

- (1)If the shall become bankrupt or have a receiving order made against him or shall present his petition in bankruptcy or shall make an arrangement with or assignment in favor of his creditors or shall agree to carry out the Contract under a committee of Inspection of his creditors or (being a corporation) shall go into liquidation (other then a voluntary liquidation for the purpose of amalgamation or reconstruction) or if the Contractor shall assign the Contract without the consent in writing of the SLIC first obtained or shall have an execution levied on the goods or if the Engineer shall certify in writing to the SLIC that in his opinion the Contractor.

- Has abandoned the Contractor

- Without reasonable excuse has filed to commence the Works or has suspended the progress of the Works for Ten (10) days after receiving from the Engineer written notice to proceed or

- has failed to remove materials from the Site or to pull down and replace Work for 28 days after receiving from the Engineer written notice that the said materials or Work had been condemned and rejected by the Engineer under these conditions or

- is not executing the Works in accordance with the Contract or is persistently or flagrantly neglecting to carry out his obligations under the Contract or

#### 11

###### Currency of payment

Forfeiture

- Has to the determent of good Workmanship or in defiance of the

Engineer’s instructions to the contrary sublet any part of the Contract?

Then the Engineer may after giving 14 days’ notice writing to the Contractor enter upon the Site and the Works and expel the Contractor there from without hereby avoiding the Contract or releasing the Contractor from any of his obligations or liabilities under the Contract or affecting the rights and powers conferred on the SLIC of the Engineer by the Contract and may himself complete the Works or may employ any other Contractor to complete the Works and SLIC or such other Contract or may use for such completion so much of the constructional plant temporary Works or materials which have been deemed to become the property of the SLIC under the provision of the Contract as he or the SLIC may think proper and SLIC may at any time sell any of the said constructional plant, Temporary Works and used materials and apply the proceed or sale in or towards the satisfaction of any sums due which may become due to the SLIC from the Contractor under the Contract.

###### Valuation at Date forfeiture

- The Engineer, as soon as practicable after such entry and expulsion by the SLIC, shall assess and determine the valuation in accordance with the established practice of SLIC for conducting valuation checks. After consultation with the concerned parties and after carrying out such investigations or enquiries as deemed necessary, the Engineer shall certify the amount (if any) reasonably earned or accrued to the Contractor in respect of the works actually executed under the Contract up to the date of such entry and expulsion. The Engineer shall further determine the value of any unused or partially used materials, constructional plant, and temporary works which, under the provisions of the Contract, are deemed to have become the property of the SLIC.

###### Payment after Forfeiture

- In the event that the SLIC enters upon the Works and expels the Contractor under this Clause, the SLIC shall not be liable to make any further payment to the Contractor under the Contract until the expiry of the Defects Liability / Maintenance Period. Thereafter, payment shall only be considered once the total cost of completion of the Works, maintenance expenses, damages for delay (if any), and all other expenditures incurred by the SLIC have been fully ascertained and certified by the Engineer. The Contractor shall be entitled to receive only such amount, if any, as the Engineer certifies would have been payable to him upon proper completion of the Works, after deducting the aforesaid costs and expenses. In the event that the total costs and expenses incurred by the SLIC exceed the amount that would have been payable to the Contractor upon due completion, the excess amount shall be recoverable from the Contractor and shall be deemed a debt due and payable to the SLIC.

Urgent Repairs	57.If by reason or any accident or failure or other event occurring to in or in connection with the Works or any part thereof either during the execution of the Works or during the period of maintenance any remedial or other Works or repair shall in the opinion of the Engineer or the Representative of the Engineer be urgently necessary for security and the Contractor is enable or unwilling at once to do such Work or repair as the Engineer may by his own or other Workmen do such Works or repair as the Engineer or the Representative of the Engineer may consider necessary. If the Works repairs so done by the Engineer is Works which in the opinion of the Engineer the Contractor was liable to do at his own expense under the Contract all cost and charges property incurred by the SLIC in so doing shall no demand be paid by the Contractor to the SLIC or may be deducted by the SLIC from any monies due or which may become due to the Contractor. Provided always that the Engineer of the Representative of the Engineer (as the case may be) shall as soon as after the occurrence of any such emergency as may be reasonably practicable notify the Contractor thereof in writing.

###### Bribes Commission Etc.

- Any bribe commission if or advantages given promised or offered by or on behalf of the Contractor or his partner, agent or servant or any one on his or their behalf to any officer, servant, representative, or agent of the SLIC or any person on its behalf in relation to the obtaining or to the execution of this or any other Contractor with the SLIC shall in addition to any criminal liability which may incur subject the Contractor to cancellation of this and all other Contract and also to payments of any loose or damage resulting from such cancellation to the like extent as is provided in case of forfeiture under Clause 56 hereof and the SLIC shall be entitled to deduct the amounts so payable from any monies otherwise due to the Contractor under this or any other Contract.

#### 12

Any question or dispute as to the commission of any offence under this Clause shall be settled by the SLIC in such manner as it shall think fit and sufficient and its decision shall be final and conclusive.

In case hot Works is involved, the Contractor is liable to take permit from the Senior Fire Officer before start of the Works, and hot Work is to be carried out according to his directions.

### SETTLEMENTOFDISPUTES

- This Contract shall be governed by the law of Pakistan. Resort to court by either of the parties in respect of any dispute should be had only to an appropriate court within the limit of KARACHI.

60 Any dispute regarding the quality of material or Workmanship or currency of measurements or reasonableness of the rate for any item or any other question of an Engineering or Technical nature shall be decided by the Engineer and his decision shall be final and binding on all the parties.

Any other dispute of whatsoever nature (Including the Interpretation of this or any other relevant documents) arising under this Contract (except as to any matters, the decision of which is specially provided for by these conditions) shall be referred to as sole arbitrator to be pointed by the chief engineer, STATE LIFE BUILDING SUKKUR, who shall have absolute discretion either to a appoint as officer or the STATE LIFE BUILDING SUKKUR or anyone else as the sole arbitrator. The decision as such sole arbitrator shall be final and conclusive and shall be binding on all the parties to the Contract and the provision of the arbitration Act 1940 and any statutory modification thereof and rules farmed there under shall be deemed to apply to and be incorporated in this Contract.

The Contractor shall not stop the Work during the pendency of the arbitration proceedings, but he shall continue to execute the Work with full speed. However, the ELECTRICAL ENGINEER shall have the power to ask the Contractor in writing to stop the Work in full or in part if he considers it necessary.

#### 13

Law Covering the Contract

Arbitration

FORMOF AGREEMENT

This Agreement made the ………………..day of ………………..Two Thousand……….. between  STATE LIFE BUILDING SUKKUR Karachi Incorporated under the STATE LIFE BUILDING SUKKUR Act VI of 1886 as amended from time to time there in after called the “SLIC” of the one part and ……………….........of…………… (Thereinafter called the “Contractor”) of the other part whereas the SLIC is desirous that certain Works should be constructed viz…………………………………………………………………...................................................

………………………………………………………………….. and has accepted a tender by the Contractor for the construction completion and maintenance of such Works and whereas the Contractor has already deposited with the SLIC the Sum of Rupees	and

has given to the SLIC a lien over such sum as security for the	due fulfillment of the Contract now this agreement is witnessed as follows: -

- In this agreement words and expression shall have the same meanings as are respectively assigned to them in the conditions of Contract hereinafter referred to.

- The following Documents which for the purpose of identification have been signed by

the	On behalf of the Contractor and by	(The Engineer of

the SLIC) on behalf of the SLIC all of which shall be deemed to from and be read and construed as part of this agreement, viz: -

  - The said Tender.

  - The Drawing.

  - The General Conditions of Contract.

  - The special condition of the Contract.

  - The specification.

  - The bill of Quantities.

  - The Relevant Correspondence: -

- In Consideration of the payment to be made by the SLIC to the Contractor as herein after mentioned the Contractor hereby covenants with the SLIC to construct complete and maintain the Works in conformity in all respects with the provision of the Contract.

- The SLIC hereby covenants to pay to the Contractor in consideration of the construction, completion and maintenance of the Works, the Contract price in the manner prescribed by the Contract.

In witness where of, the parties here to have hereinto set their respective hands and seals the day and year first above written.

Signed sealed and delivered by: -

The Chief Engineer and two Witnesses on behalf of the SLIC STATE LIFE BUILDING SUKKUR Karachi. Signed by

Chief Engineer                               …………………………..

In the presence of	…………………………..      1st Witness Signed by	…………………………..     2nd Witness

In the presence of	…………………………..

And	…………………………..

………………for and on behalf…………………………..	(Contractor) Signed by

In the presence of	…………………………..	(Contractor)

#### 14

P.C.No.______________________

## STATE LIFE BUILDING SUKKUR

ELECTRICAL DEPARTMENT

FINANCIAL BID

Name of work:

### TENDER DOCUMENTS FOR THE:

SUPPLY INSTALLATION & COMMISSIONING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING SUKKUR.

#### Contents:

i.	The Scope of Work, Terms conditions &Bill of Quantity (B.O.Q) (05 Pages)

(For Financial Bid).

Online submission through EPADs must be on or before the Time & Date mentioned in the tender notice and bid security of Amount (Rs) 150,000/- in form of Payorder (in original), must be delivered at Office of In-Charge (Real Estate Department) 7th Floor, State Life Building Thandi Sarak Hyderabad before the Time & Date mentioned in the Tender Notice.

Date…………………

N. B: All tender documents read carefully, to be filled properly and duly singed& stamped each paper before uploading it to EPADS. Incomplete tender bids will not be considered.

FOR FINANCIAL BID

STATE LIFE BUILDING SUKKUR

SCOPEOFWORK/BILLOF QUANTITY

SUPPLY INSTALLATION, COMMISSIONING & NET METERING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING SUKKUR

SCOPEOFWORK/BILLOFQUANTITY

| S.NO | DESCRIPTIONSOFWORK | QTY | UNIT | RATE (Rs.) | AMOUNT (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | Supply/ Providing of Tier-1, Grade-A, 610W to 625W, Monoperc, Half cut, HIMO6, N-type of reputable make as per international standard, IEC61215, IEC61730, ISO9001, ISO14001, ISO45001. Brand: Longi/Jinko/Canadian. | 56 | No. |  |  |
| 2 | Supply/ ProvidingofTier-1,Grade-A,ongrid 30KWInverterofreputablemakeasper international standard. IEC62109, IEC61727, IEC62116, IEC60068, IEC61683,IEC610006-2,IEC61000-6-4 Brand: Sungrow/Huawei/SMA. | 1 | No . |  |  |
| 3 | Supply/ ProvidingofWIFIStickincludingallcommunicationdevices&peripheralsof reputable make as per international standard. | 1 | No. |  |  |
| 4 | ProvidingofACCable16mm2,4coreCopperWirePVCinsulatedmakePakistanCables / Fast Cables or equivalent (from Inverter to AC Combiner Cabinet). | 60 | Mtr. |  |  |
|  | ProvidingofEarthing6mm2, single core Copper Wire PVC Green insulated make Pakistan Cables / Fast Cables or equivalent (for Structure Earthing) | 180 | Mtr. |  |  |
|  | Providing of DC Flexible Wire 6mm2, single core 1500VDC , tin coated Copper Wire XLPO/XLPO insulated make Pakistan Cables / Fast, Cables (for DC wiring of solar panels). | 1800 | Mtr. |  |  |
|  | ProvidingofEarthing2.5mm2, single core Copper Wire PVC Green insulated make Pakistan Cables / Fast Cables or equivalent (for Grounding Solar Panels) | 90 | Mtr. |  |  |
|  | ProvidingofEarthingCable25mm2, Single core Copper Wire PVC insulated make Pakistan Cables /Fast Cables or equivalent (from Earth pit to Lightning Arrester). | 180 | Mtr. |  |  |
|  | Providing of Earthing 10mm2, single core Copper Wire PVC Green insulated make Pakistan Cables / Fast Cables (for Inverter Earthing) | 180 | Mtr. |  |  |
| 5 | Supply/ Providing of Elevated Structure including (HeightofFrontpole:12’&Backpole: 15’ Tilt: 7 degrees) With Epoxy Paint, Anti rust epoxy primer & Supportingmaterials.MSpipe114mmdiasize14-gaugethickness.MS MaingirderI-beam5”x3”size10-gauge(3mm) thickness.1.8kg/ft.MSSecondarygirderI-beam5”x3” size10-gauge (3mm) thickness. 1.8kg/ft. MS top plate 6”x 6” size 4mm thickness. MSbaseplate8”x8” size8mmthickness.MSsquarepipe1”x2” size18-gaugethickness (for walkway & ladder). Aluminum T & Z clamps. Respective calculations (ASCE7-10) subject to wind speed will be provided with the bid. | 1 | Job. |  |  |
|  | Constructing of Cemented civil pads for PV Roof mounting shed structure with dimensions LxWxH=12”x12”x6” with MS studs & bolts reinforcement for elevated Structure. | 1 | Job. |  |  |
| 6 | Supply & Providing of Earth Electrodes (Rod Type) for Earthing System with 14mm Dia 3 meters (10feet) long driven Pure copper Solid rod, complete with clamps lugs, washer/bolts, connected with 1 x 25mmsq bare copper. I pipe/UPVC pipe class 'D/E' up to Earth chamber, job includes cad- welding of copper conductor to earth electrode rod at one end and provision/fixing of cable lugs at other end, including all accessories and RCC inspection chamber, heavy duty G.I. Cover having earth symbol, etc as per the specifications and Drawings and to the entire satisfaction and approval of the Engineer. Minimum depth of the earth pit should be 20ft, Earthing result should be less than 1 Ohm for AC/DC/LA | 3 | Job. |  |  |
| 7 | 16Guage IP-42 AC Combiner Box Floor mounted 400 X 6000 X 200mm with complete filling scheme, railings & isolators for placing AC breakers, RYB indications with energy analyzer. Followings are specifications of floor mounted combiner. | 1 | Job. |  |  |
|  | 1.I/PMCCB4-Pole,400VAC,63ampx1Nos. |  |  |  |  |
|  | 2.SPD4-Pole,400VAC,40KAx1Nos. |  |  |  |  |
|  | EnergyAnalyzerx1NosBrandPhoenix |  |  |  |  |
|  | PhaseIndicationLightsx1Nos |  |  |  |  |
| 8 | Providing of Wall Mounted DC Distribution Boxes of 16 Guage IP-42 reputable make for each inverter for placing DC Breakers & DC SPD, Size: WxHxD=1.5’x1.5’x1’ with indication lamps, Digital Volt & Ammeter and with all necessary railings &fittings etc as per site requirements. | 1 | Job. |  |  |
| 9 | Providing of Misc Items e.g: Cable tray GI 16SWG with 18SWG cover. Accessories (MC4Connectors,Cableties,UPVCconduits,anchorbolts, PVCflexiblepipes & clamps, PVC tapes, Thimbles etc.) | 1 | Job. |  |  |

| 10 | Supply & Providing of Early Streamer Emission (ESE) with remote testing option and having following specifications: Make: As per approved manufacturer's list Type: Generation 3 or Equivalent Reaction time: 45 - 50 micro seconds Maximum Discharge Rating: 100 kA Material: Stainless Steel or as per manufacturer's specifications Length: 400mm or as per manufacturer's specifications Level of Protection: Level 1 Protection Radius: 65 m Risk Assement / Coverage Calculation Via Software. Mounting height (from Roof top to tip of ESE): 5m or as specified | 1 | No. |  |  |
| --- | --- | --- | --- | --- | --- |
| 11 | Supply & Providing of Water Piping Network with PPRC Piping Network for Cleaning of Solar PV Panels with Water Booster Pumps etc. Note: 2No. 3-in-1 special brush, featuring integrated brush, wiper, and water inlet functions for the cleaning of solar panels, will be handed over to the client. | 1 | Job |  |  |
| 12 | Installation, Commissioning, Net Metering (including NEPRA Charges & KE Meter charges will be responsibility of contractor) and Services of S. No. 1 to 11. | 1 | Job |  |  |
| 13 | Spares | 01 | job |  |  |
| Total Amount without tax |  |  |  |  |  |
| Add 10%GSTon itemNo.1 |  |  |  |  |  |
| Add 15%SSTon itemNos.11 to 12 |  |  |  |  |  |
| Add 18%GSTonitemNos.1to 10 |  |  |  |  |  |
| Grand Total |  |  |  |  |  |
| Total amount in words: |  |  |  |  |  |

### TERMSANDCONDITIONS

#### Work   site:-

All the firms participating in bidding for this work must visit the work site for assessing the actual conditions, locations, spaces, logistics, etc before submitting their bids.

#### Operation and maintenance manuals and drawings: -

Contractor shall supply one set of Operation and maintenance Manual and 3 sets of Product Specs Catalogue for all the equipment before the supply, installation and commissioning of equipment for study of STATE LIFE BUILDING SUKKUR Engineer.Contractorshallsupply3sets ofmanualsforallequipmentaftercompletionbutbeforefinalhandingover.Threesets of connection diagrams and schematic diagrams for the complete works showing actualasbuiltconditionshallbepreparedbythecontractorandprovidedforstudyand record prior to commissioning of the system. The contractor, if directed by STATE LIFE BUILDING SUKKUR Engineer, shall incorporate any modifications / corrections, in the drawings.

#### Manufacturer catalogues along with tender document: -

Manufacturer catalogues, in English for offered equipment should be provided along with the tender documents for study of STATE LIFE BUILDING SUKKUR Engineers for verification of specifications and ascertaining the suitability of the equipment.

#### Load test and certificates: -

The Contractor along with the supply shall provide manufacturer’s test certificate. Actual test trial to be carried out after completion and installation as per standard procedures for satisfactory commissioning.

#### Training

Contractor shall arrange for 4-days training of 4 nominated officials of STATE LIFE BUILDING SUKKUR at the manufacturing / assembling premises of the equipment to be supplied. Said training shall cover operation, routine maintenance, fault diagnosis, defect rectification etc pertaining to the main equipment to be supplied.

- SERVICELEVELAGREEMENT(SLA)FORMAINTENANCE

The service level agreement (SLA) for maintenance will be for (1 year). The maintenance activities will be divided in to the following parts:

      - Preventative maintenance-will include inspections and test so of Solar PV equipment to depict their performance.

      - Corrective maintenance-will include trouble shooting and parts replacement (if required) in case of abnormal behavior, component failure or breakdown.

      - Cleaning services of Solar plates three times in a month i-e on 10th , 20th & 30th of every month for period of one (01) year free on cost

Preventative Maintenance

Preventative maintenance shall encompass all the equipment installed, inverters, LV Panels, solar modules etc.

Inspections of Installed Equipment

  - PV Modules on daily basis

    - All panels to be inspected.

    - All panels inspection will be completed in 3 days

    - PV Modules Glass cracks checking

    - MC4connectorscheckforanylooseconnections

  - PV Inverters on a daily and monthly basis

- Visual checks for any damages

- MC4connectorschecking

  - Structure daily, monthly, and annual inspections and maintenance

- Nuts & Bolts Tightening

- ZRC application

| Sr.# | Inspection | Daily | Monthly | Annually |
| --- | --- | --- | --- | --- |
| 1. | PV Modules Inspection |  |  |  |
| 2. | PV Modules Cleaning |  |  |  |
| 3. | PV Inverters Inspection |  |  |  |
| 4. | Structure Inspection |  |  |  |
| 5. | Plant Performance Reporting |  |  |  |

Preventativemaintenanceshallbecarriedoutbythesiteteamthroughoutthe calendar year.

Bi-Annual Inspections

Bi-Annualinspectionwillbeperformedtwiceayear.Onceaftersixmonthsand other at the end of the year

The scope must include the following

(PV Modules and Supporting Structure)

- 100% visual inspection of modules regarding damage in 1st bi-annual inspection. Modules will be inspected daily and damage/ replacement shall be reported. However, modules will be checked for any damage, decolonization, cracking, splitting will be covered in bi-annual inspections.

- Random check for loosening of module clips. Clips should be replaced if necessary

- ZRC application on rusty part soft the structure

- Nuts and bolts tightening of the structure and PV Modules Inverter (100% per inspection to be covered)

- Functional check of inverters

- Testing of inverter features according to manufacturer’s maintenance

- Maintenance of inverters according to manufacturer’s instructions

Additional Inspections

- Functionality testing of the monitoring system

- Maintenance of all PV Plant components according to manufacturer’s

instructions

- Visual damage inspection of all accessible cable trenches and cable trays

- Dressing of the cables if and as required.

Additional Main Annual Inspection

In addition to the bi-annual inspections, one main annual PN Plant inspection will be conducted. The inspection is to follow the detailed inspection procedures and will be documented accordingly. Below is the scope of annual inspection:

- Visual damage inspection of all accessible cable trenches and cable trays

- Visualinspectionandrandomtestingofmodulestringconnector’sclamps,

All components and degree of pollution. Testing of over-voltage protection

Corrective Maintenance

The following corrective maintenance services shall be offered till system is under O&M contract:

- Critical Reactive Repair

- Condition Based Maintenance

- Warranty Enforcement

- Equipment Replacement through Spares(planned/unplanned)

- Complaint Management

- MC4s replacement and cable dressing, if and as required

Corrective maintenance shall be carried out by the site team if and as required.

The following additional spare parts will be ordered along with the project procurement

•	10 extra modules.

•	50 m DC cable

•	Equipment to ensure low water consuming cleaning techniques.

•	Miscellaneous Items.

Any additional spares that the bidder foresees that could be used should be additionally specified. These should not be consumable items and will be analyzed by the owner’s engineer before being allowed to be added in the spares list. These spares are owned by State Life & stored within State Life, whereas it is the responsibility of the contractor to properly maintain, safeguard and store the spare parts. The spares can be acquired after an incident is properly reported where the installed inverters have become nonoperational.

Any additional spares non-availability impact on nonperformance of the plant will be the responsibility of the contractor during the O&M period. Any resulting damages due to nonperformance of the plant due to the unavailability of the inverters or any other equipment will be the responsibility of the O&M provider. Specialized low water consumption cleaning techniques and equipment to be used to avoid soiling and reduce portable water use. Unlimited water will not be available for cleaning modules.

- WARRANTYANDGUARANTEE:

- One-year standard warranty of complete Project.

- International Standard warranty for Solar Panel (Productwarranty16 years and performance warranty 30 years, 5 years Inverter warranty).

Signature & Seal of the Bidder                                    ELECTRICAL ENGINEER

STATE LIFE BUILDINGSUKKUR

TECHNICALEVALVATIONCRITERIA

SUPPLY INSTALLATION & COMMISSIONING OF 30KW ON-GRID SOLAR SYSTEM AT STATE LIFE BUILDING SUKKUR.

- MANDATORYREQUIREMENT:

Thefirmsshouldfulfillforthefollowingmandatoryrequirement/conditionandsupportingdocumentsshouldbesubmitted accordingly:

CAUTION: Non-compliance of any Mandatory Conditions will end in rejection of bid and no further evaluation: -

| S.No. | Description |  |  | Remarks |
| --- | --- | --- | --- | --- |
| 1. | In case of companies and firms, last 03 years audited financial statements are to be provided showing minimum average turnover of Rs 50 million. OR In case of individuals / Sole proprietors, last 03 years tax returns filed with FBR are to be provided showing minimum turnover of Rs 50 million minimum on average for 03 years. |  |  |  |
| 2. | Pakistan Engineering Council registration certificate in mandatory technical codes EE-04, EE-05, EE-11 & for financial limit in C-3 minimum |  |  |  |
| 3. | Affidavits to be submitted on Rs100/- stamp paper mentioning therein that the firm has not been black listed by any Government/Semi Government/ Autonomous/Semi-Autonomous body. |  |  |  |
| 4 | Copy of certificate of NTN, GST, SRB & fresh copy of Active tax payer list (ATL). |  |  |  |
| 5. | The bidder shall submit their bid on original tender documents duly filled with each page signed and stamped against each column as token of acceptance. |  |  |  |

| 6. | Valid copy of registration Certificate from private power & infrastructure SLIC (PPIB) in C1 category. |  |  |  |
| --- | --- | --- | --- | --- |
| 7. | Valid copy of Electrical Contractors License issued by Electrical Inspectorate of Karachi. |  |  |  |
| 8 | Joint Venture / Consortium strictly not allowed. |  |  |  |

- TECHNICALREQUIRMENT

Minimum Qualifying Marks=70%ineachcategory

The points/marks shall be given in the following manners:

Summary of marks/points

|  | Category | Maximum point/ marks | To qualify Minimum points to be scored separately in each category |
| --- | --- | --- | --- |
| a. | Status of firm | 10 | 07 i.e70%of10marks |
| b. | Professional Capability | 30 | 21 i.e70%of30marks |
| c. | Relevant Experience | 20 | 14 i.e70%of20marks |
| d. | Projects in Hand | 20 | 14 i.e70%of20marks |
| e. | Financial | 20 | 14 i.e70%of20marks |
| Total |  | 100 | 70 i.e70%of100marks |

| S. No. | Description |  | Min. marks | Max. marks |
| --- | --- | --- | --- | --- |
| a. | STATUSOFFIRM:(Max.marks-10)(Minmarks07) |  |  |  |
|  | i). Private Limited/corporation . Partnership . Proprietor | 05marks 04marks 3.5marks | 3.5Marks | 05Marks |
|  | ii).Completion of 06yearsoffirmestablished Completionof05yearsoffirmestablished .Completionof04yearsoffirmestablished . Below02yearsoffirmestablished (Evidence to be provided) | 05marks 04marks 3.5marks 00marks | 3.5Marks | 05Marks |
| Total |  |  | 07Marks | 10Marks |

| b. | PROFESSIONALCAPABILITY (Max.marks-30) (Minmarks21) |  | Min. marks | Max. marks |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | - Managerial staff. (10 Marks) |  |  |  |  |  |
|  | - Director/Controller (10years’ experience) - Manager Engineering (05years’ experience) - Manager Finance (05years’ experience) | 10marks 8.5marks 07marks | 7marks | 10marks |  |  |
|  | - .Technical staff.(10Marks) |  |  |  |  |  |
|  | Provide detail of technical staff involved in Solar installation work: |  |  |  |  |  |
|  | Electrical/Electronic/Mechatronics Engineer having 05-10 years’ experience. | 10marks |  |  |  |  |
|  | Electrical/Electronic/Mechatronics Engineer having 03-05 years’ experience. | 8.5marks | 7marks | 10marks |  |  |
|  | Electrical/Electronic/Mechatronics Engineer having 01-03 years’ experience. | 7marks |  |  |  |  |
|  | iii. Work Facility(10marks) |  |  |  |  |  |
|  | Detail to be provided methodology of Solar repairing workshop facility, fully equipped with machine &tools required for subject work having following accessories. |  |  |  |  |  |
|  | - Online facility 24/7 diagnosing fault. - Insulation Resistance Tester (Megger) - Air compressor - Pneumatic tools - Plate bending machine - Welding plant - Shaper grinding machine - Electric grinders - Tools for fabrication work - List of safety equipment such as helmet safety goggles hand gloves etc will carry. | 2marks 1mark 1mark 1mark 1mark 1mark 1mark 1mark 0.5 mark 0.5 mark | 7marks | 10marks |  |  |
| Total |  |  | 21Marks | 30Marks |  |  |

| C. | RELEVANTEXPERIENCEOFSOLARIZATIONWORK. Max.marks-20(Minmarks14) Give reference to (documentary proof) in. - 05 contracts for Solar Installation work 100KW or above. - 04 contracts for Solar Installation work 100KW or above. - 3 contracts for Solar Installation work 100KW or above. |  | 20marks 16marks 14marks | 14 Marks | 20Marks |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Total |  |  |  | 14Marks | 20Marks |  |  |
| D. |  | PROJECTS IN HANDOFSOLARIZATIONWORK. Max.marks-20(Min marks 14) Give reference to (documentary proof) in. - 05 contracts for Solar Installation work PKR 10 million and above - 04 contracts for Solar Installation work PKR 10 million and above - 03 contracts for Solar Installation work PKR 10 million and above | 20marks 16marks 14marks | 14 Marks | 20Marks |  |  |
| Total |  |  |  | 14Marks | 20Marks |  |  |
| E. | FINANCIALSOUNDNESS (Max.marks-20)(Min marks 14) |  |  | Min. marks | Max. marks |  |  |
|  | Turnover. |  |  |  |  |  |  |
|  | Rs 50 million and above. Rs 30 millionandlessthanRs50 million. Rs 15 millionandlessthanRs 30 million. Below Rs 10 million. |  | 20marks 16marks 14marks 00marks | 14marks | 20marks |  |  |
| Total |  |  |  | 14Marks | 20Marks |  |  |
| Grand Total (a+b+c+d+e) |  |  |  | 70Marks | 100Marks |  |  |

| NOTE The selection of firm would be made via “Most Advantageous Bid” with 70% weightage to be given to Technical |  |  |
| --- | --- | --- |
| Criteria and 30% weightage to be given to Financial Bid. |  |  |
| Formula for evaluation: - Technical Score= Bidder’sTechnicalScoreX70 Total Technical Score |  |  |
| - Financial Score= Lowest Bid Price X30 Bidder’s Quoted Price |  |  |
| - Total Score=Technical Score + Financial Score |  |  |

ELECT.ENGINEER